Digital Watchdog® is a leading manufacturer of security and surveillance solutions, offering stunning image quality, advanced hardware capabilities, reliable customer support and lowest total cost of deployment to the analog & IP megapixel surveillance markets. Located in Cerritos, CA with manufacturing facilities in Seoul, Korea, Digital Watchdog® is committed to delivering powerful security solutions to its customers worldwide.

For additional information, contact:

- Digital Watchdog®
	16220 Bloomfield Avenue,

- Cerritos, California 90703 USA

- Phone: +1 888 446-3593

- Web: www.digital-watchdog.com

- E-mail: dw-tech@digital-watchdog.com

MEGApix® CaaS™ camera as a system LPR bullet IP camera

- DIVISION 28 – ELECTRONIC SAFETY AND SECURITY

28 20 00 	Electronic Surveillance

28 23 00 	Video Surveillance

28 23 29	Video Surveillance Remote Devices and Sensors

Notes to Specifier:

1.  Where several alternative parameters or specifications exist, or where, the specifier has the option of inserting text, such choices are presented in <bold text>.

2.  Explanatory notes and comments are presented in colored text.

MEGApix® CaaS™ camera as a system LPR bullet IP camera

- GENERAL

  - SUMMARY

    - Section includes a 4MP high definition IP video camera with embedded Video Management System (VMS) server software (“IP edge camera”), in a weather-resistant bullet housing.

    - Product - A high definition video camera, based on H.264, MPEG-4 and MJPEG compression, capable of streaming 30 fps at resolutions up to 2688 x 1520, with dual streaming capability in a vandal resistant and IP66-rated weather-resistant bullet style housing, with embedded video management server software.

    - The camera shall be specifically preconfigured to capture license plates from moving vehicles at various speeds and distance.

    - Related Requirements

      - 27 20 00 Data Communications

      - 28 23 13 Video Surveillance Control and Management Systems

      - 28 23 16 Video Surveillance Monitoring and Supervisory Interfaces

      - 28 23 19 Digital Video Recorders and Analog Recording Devices

      - 28 23 23 Video Surveillance Systems Infrastructure

  - REFERENCES

    - Abbreviations

      - AGC - Automatic Gain Control

      - ARP – Address Resolution Protocol

      - AWB  - Automatic White Balance

      - BLC – Back light compression

      - DHCP - Dynamic Host Configuration Protocol

      - DNR – Digital Noise Reduction

      - DNS - Domain Name Server

      - DDNS – Dynamic Domain Name Server

      - fps - frames per second

      - FTP - File Transfer Protocol

      - GUI – Graphical User Interface

      - HLC – Highlight Compensation

      - HTTP - Hypertext Transfer Protocol

      - ICMP – Internet Control Message Protocol

      - IGMP - Internet Group Management Protocol

      - IP - Internet Protocol

      - JPEG - Joint Photographic Experts Group

      - LPR - License Plate Recognition

      - MJPEG - Motion JPEG

      - NTP - Network Time Protocol

      - PoE - Power over Ethernet

      - QoS – Quality of Service

      - RARP – Reverse Address Resolution Protocol

      - RTP - Real-Time Transport Protocol

      - RTSP - Real-Time Streaming Protocol

      - SMTP - Simple Mail Transfer Protocol

      - TCP - Transmission Control Protocol

      - UDP - User Datagram Protocol

      - VMS - Video Management System

    - Reference Standards

      - Network

        - IEEE - 802.3 Ethernet Standards

      - Video

        - ISO / IEC 14496 – MPEG-4

          - ISO / IEC 14496–10, MPEG-4 Part 10 ( ITU H.264)

        - ISO / IEC 10918 – JPEG

        - ONVIF – Profile S

      - Emissions

        - FCC-47 CFR Part 15 Class B

      - Environmental

        - ANSI / IEC60529 – Degrees of Protection Provided by Enclosures

        - International Electrotechnical Commission (IEC) – Ingress Protection Rating IP66

    - Recording at the Edge: is the concept of taking audio/video from a camera and storing it at the “edge” of the Ethernet network - instead of transporting it across the network to a network video recorder.

  - SUBMITTALS

    - Product Data

      - Manufacturer’s printed or electronic data sheets

      - Manufacturer’s installation and operation manuals

      - Warranty documentation

  - QUALIFICATIONS

    - Manufacturer shall have a minimum of five years’ experience in producing IP video equipment.

    - Installers shall be trained and authorized by the Manufacturer to install, integrate, test, and commission the system.

  - DELIVERY, STORAGE AND HANDLING

    - Deliver the camera in the manufacturer’s original, unopened, undamaged container with identification labels intact.

    - Store the camera in a temperature environment of -40° C to 50° C (-40° F to 122° F), protected from mechanical and environmental conditions as designated by the manufacturer.

  - WARRANTY AND SUPPORT

    - Manufacturer shall provide a limited 5 year warranty for the product to be free of defects in material and workmanship.

END OF SECTION

- PRODUCTS

  - EQUIPMENT

    - Manufacturer: 	Digital Watchdog®

16220 Bloomfield Avenue.

Cerritos, California USA 90703 USA

Phone: (866) 446-3595

Web: www.digital-watchdog.com

E-mail:  dw-tech@digital-watchdog.com

    - Models DWC-MB44iALPR

Digital Watchdog model differences:

DWC-MB44iALPRC6	64GB local storage

DWC-MB44iALPRC1	128GB local storage

DWC-MB44iALPRC2	256GB local storage

DWC-MB44iALPRC5	512GB local storage

DWC-MB44iALPRC1T	1TB local storage

    - Alternates: None

  - GENERAL DESCRIPTION

    - The High Definition Weather Resistant Bullet Camera (“IP bullet camera”) shall provide video performance capable of providing selectable resolutions up to 2688 x 1520 pixels at 30 frames per second (fps).

    - The IP bullet camera shall be pre-configured for license plate capturing at distances up to 60 feet from the camera, from moving vehicles at up to 50mph.

    - The IP edge camera shall make its video viewing and control functions available via a client-side application accessing the IP camera-server’s own server software.

    - The IP edge camera shall be able to coexist on an Enterprise network with Video Management servers connected to supported IP cameras which do not have their own embedded VMS server software.

    - The IP camera-server shall be accessible from mobile and web clients.

    - The IP camera-server shall provide up to 64 GB, 128 GB, 256 GB, 512 GB or 1 TB of onboard video storage via SD card.

    - The IP camera shall possess the following characteristics:

      - H.264 and MJPEG compression

      - 4 megapixels

      - two independent IP video streams (dual streaming)

      - B/W imaging only

      - 8.3 x optical zoom

      - Integral IR LED illuminator providing 60ft distance

      - integral motion detection

      - 3D digital noise reduction

      - PoE capable

      - multicast or unicast capable

      - local edge recording via Micro SD, SDXC or SDHC card

      - Dynamic DNS (DDNS) support

      - IP-66 rated

  - VIDEO

    - Imager

      - Sensor: 4MP 1/3" Sony CMOS

      - Minimum illumination

        - Black & white mode: 	0.0 lux (F1.6 – 30IRE)

      - Scanning - Progressive

      - Image Control Settings shall be available for:

        - Automatic white balance (AWB)

          - Selectable for Auto or Manual

            - Manual mode to provide the ability to configure red offset, blue offset and warmth or coolness of light.

        - Exposure modes: 	automatic or manual

          - In manual exposure mode, configurable settings for:

            - brightness

            - shutter mode: automatic or manual from 1/15 to 1/32000

            - digital slow shutter to decrease shutter speed in low light

            - Automatic Gain Control (AGC)

        - Night (Black and White), settings only.

        - Frequency

        - Image sharpness

        - IR LED control

        - Image mirror or flip

        - Digital noise reduction

        - Privacy zone definition, up to 16 zones

      - Lens

        - Lens type: Lens type: 6~50 mm P-Iris Lens, remote auto-focus

        - Optical zoom:  8.3

        - Field of view (FOV): 90o – 7.3o

        - Shutter speed:  1/15 sec to 1/32000

    - Video Streams

      - The IP bullet camera shall support two configurable video streams, each of which may have the following properties:

        - Resolution

          - H.264:

            - 1440p CIF

            - 1080p

            - 720p

            - VGA

            - D1

            - CIF

          - MJPEG:

            - 1280x720

            - 800x600

            - VGA

            - 768x432

            - D1

            - CIF

        - Compression type:

          - H.264

          - MJPEG

        - Bit rate:	10 Kbps – 10 Mbps, Smart bitrate control

        - Frame rate:	0 – 30 fps

        - MJPEG image quality

    - Motion Detection – The IP bullet camera shall have the ability to detect motion within user defined areas of the video image.

      - Configuration settings shall be available for sensitivity and dwell time.

    - Storage and Recording

      - The IP camera shall have non-removable onboard SD card storage.

        - Card type:	Micro SD/SDHC/SDXC Class 10

    - ONVIF – Video streams shall be capable of supporting ONVIF protocol, profile S.

    - Other

      - Single Images - The IP bullet camera shall support jpg file image screenshot and export.

      - Discovery - Manufacturer shall offer a discovery program to identify all devices of his manufacture on the network.

      - Emergency alarm – The IP bullet camera shall allow sending of a video clip of configurable duration to up to five server locations.

      - Access - The IP bullet camera shall permit up to five users to simultaneously access the camera.

  - AUDIO

    - The IP dome camera shall provide one-line level input and one-line level output.

    - Compression and Sampling Rate:  G.711 (8 kHz)

  - VIDEO MANAGEMENT SYSTEM SOFTWARE

    - The IP Video Management System (“IPVMS”) shall be a software package hosted on the camera for comprehensive management of recording video parameters. The complete IPVMS shall supports multiple operating system platforms, mobile client applications, user customization, bandwidth control and scalability.

    - The edge IPVMS shall support up to 30 edge cameras in a single network, recording to the same NAS devices, managed remotely from any IPVMS client software.

    - General Functionality - The IPVMS shall possess, as a minimum, the following characteristics:

      - up to 128 cameras supported per server

      - no limitation on overall number of cameras supported by system

      - ability to decode H.264, MPEG-4 and MJPEG compressed video from multiple manufacturers’ camera, encoder, digital video recorder, and network video recorder products

      - server and camera configuration from a single window

      - ability for a User to log in and view multiple sites based user permissions and configuration

      - seamless transition from live view to recording function

      - customizable layout views

      - on screen PTZ control with programmable presets and tours

      - definition and display of regions of interest

      - ability to search recorded video by frames involving motion, log entries, and thumbnail previews

      - IPVMS server and network health monitoring

      - e-mapping

      - ability to export and review one day of video in one minute

    - Detailed Functions

      - Automatic discovery

        - Camera – The IPVMS shall provide a mechanism for automatic camera and server discovery.

          - Upon discovery, the IPVMS shall have the ability, if selected, to

            - add the device to the system if not previously added

            - configure optimal image settings for the primary video stream from the device

          - The IPVMS shall provide for the manual addition of devices that cannot be automatically discovered.

        - Encoder – The IPVMS shall discover network-connected video encoders and display active channels on the encoder.

        - Digital video recorder – The IPVMS shall have the ability to discover digital video recorders connected to the network.

      - Device Management - The IPVMS shall provide for management of devices and system functionality, as follows:

        - camera and encoder management

          - full listing of all registered devices with associated properties

            - device name

            - manufacturer

            - model

            - firmware version

            - IP address

            - MAC address

            - media server hosting the device

          - system configuration tools

            - sort and filter device data

            - select and open device

            - rename device

            - view device history

            - add device

            - add video stream from device

            - delete device

            - export device list to file in HTML or CSV file format

            - simultaneous multiple device configuration

          - camera and encoder configuration

            - device authentication

            - image parameters:	brightness, contrast, saturation, hue

            - audio recording for audio-equipped cameras

            - aspect ratio

            - PTZ, including home position, presets and tours

            - fish-eye camera properties, including dewarping

            - recording schedule

            - proprietary camera parameters

            - secondary stream quality parameters

          - recording parameters

            - recording modes

              - constant

              - record on motion

              - constant low quality, switching to high quality on motion

              - do not record

              - min-max recording time

            - recording quality

            - frames per second

            - schedule

              - day of week

              - hour

          - motion

            - support for both hardware (camera) and software motion detection

            - definition of detection regions and regions exclude from detection (masks)

            - sensitivity

      - Events and actions

        - The IPVMS shall support the following types of events and actions:

          - Events

            - Motion on camera

            - Camera disconnection/malfunction

              - A camera shall be considered disconnected if no signal has been received for more than 10 seconds.

            - Storage failure – The NVR is unable to write data to storage.

            - Network issue – no data transfer between camera and NVR, resulting in packet loss and subsequent frame drop

            - Camera IP address conflict

            - Camera alarm input signal

            - NVR failure

            - Media Server conflict – Multiple Media Servers or NVR’s attempt to manage a common camera

            - Licenses not configured

            - E-mail not set for Users

            - E-mail server not configured

            - E-mail sending error

            - Storage not configured

            - NVR started

          - Actions - The IPVMS shall support the creation of rules linking actions to events.

            - Visual Notifications

              - Notifications shall be one of the following types: system messages indicating improper configuration, warnings of critical events, non-critical event notification.

              - Additional information concerning a notification shall be available on the UI by hovering a mouse over the notification.

              - Clicking on a notification shall initiate a corresponding action.

            - Visual Event Indication – The IPVMS shall allow the highlighting a specific object in a scene if too many cameras are opened, creating difficulty in locating a specific camera.

            - E-Mail Notifications – The IPVMS shall allow configuration of e-mail settings to support an e-mail notification function.

            - Start recording on camera upon camera motion or alarm input signal on camera.

            - Trigger camera output, configurable for duration of event or for a fixed time period.

              - There shall be a configurable auto-reset function for the output when a fixed time period has been selected for output duration.

            - Play sound

              - A library of sounds shall be available, which shall be capable of having sounds added, edited, or removed.

              - Specific events may be configured to generate specific sounds.

            - Speak pre-configured text

            - Write to system log

              - The IPVMS shall be configurable to allow all events with rules to be written to the system log.

              - The IPVMS shall allow configuration to allow only certain events to be written to the system log.

              - Logged events shall include date and time of event, event source, action performed, recipient of the action, and optional descriptive text.

              - Event logs shall be capable of being sorted, filtered, and searched.

      - Viewing Video

        - The IPVMS shall allow the viewing of live and recorded video streams through the web browser, Manufacturer client software and Manufacturer mobile applications.

          - Supported video streams shall include ONVIF Profile S, RTSP, and HTTP.

        - Resource management

          - In the event of insufficient bandwidth between client and Media Server, the IPVMS shall automatically adjust the video stream to lower resolution to conserve bandwidth.

          - In the event of insufficient processing power in the CPU of the client machine, the IPVMS shall automatically adjust the video stream to lower resolution reduce CPU load.

          - The IPVMS shall auto-pause live video during periods of inactivity to conserve bandwidth.

        - Layout management – Cameras, local videos, and images shall not be restricted in terms of location, size, or orientation.

          - The IPVMS shall support the construction of customized screen layouts.

          - Layouts shall support interchangeable backgrounds, including schematic maps and building layouts.

          - A layout’s appearance shall be capable of being altered via the following functions:

            - zoom

            - moving and swapping items

            - resizing items

            - fit-in view

            - changing distance between items

            - changing cell aspect ratio

          - The IPVMS shall allow the creation of up to 64 zoom windows for each camera.

            - Camera dewarping shall be employed to correct distortions in fisheye cameras

          - Layouts shall be capable of being saved or locked to prevent accidental deletion.

          - The IPVMS shall support layouts with multiple windows spanning multiple monitors.

          - Layouts shall be capable of being assigned to specific users.

          - The IPVMS shall support camera dewarping on 360o and 180o fisheye cameras and presentation of 90o, 180o, and 360o views on the fly.

        - Video Recording

          - IPVMS shall allow for designation of the recorded video storage based on hard disk or network-based storage configuration.

          - The IPVMS shall be capable of dual stream recording of video from an IP camera with multi-stream capability.

          - The IPVMS shall provide capability for video recording in the following modes:

            - Instant

            - Constant

            - Upon motion or alarm event

            - Constant, low quality, switching to high quality on motion or alarm

            - Scheduled

            - Min-Max recording time per camera

              - A user shall have the ability to specify the minimum and maximum amount of days for which footage can be recorded from cameras, selectable by camera.

          - Quality and frames per second shall be configurable parameters for video recording.

          - The IPVMS shall provide pre-alarm recording functionality.

          - The IPVMS shall allow for recording of audio, when present

        - Video Playback

          - Users shall be able to seamlessly switch between live and archived video on a camera.

          - The following playback controls shall be available:

            - fast forward

            - fast forward up to 16x

            - rewind

            - fast rewind up to 16x

            - frame by frame advance

            - frame by frame reverse

            - previous/next recorded fragment

            - panning through a time line using mouse or keyboard shortcuts

          - Multiple cameras

            - The IPVMS shall allow users to navigate multiple cameras.

            - Multiple cameras displaying at the same time shall be capable of being synchronized.

          - Available search methods

            - calendar

            - motion-highlighted fragments

            - thumbnail

            - time stamp

          - The IPVMS shall allow playback of video files stored local to the Client machine.

            - Local media files shall be automatically indexed by the IPVMS.

        - Forensic Analysis

          - The IPVMS shall have the following features to support forensic analysis:

            - full screen mode

            - screen zoom

            - image rotation

            - fish-eye camera video and image dewarping

            - image enhancement – gamma, black level, and white level

      - Export

        - The IPVMS shall allow single camera export in AVI, MKV, and executable EXE formats with time stamps.

        - The IPVMS shall allow the exporting of multiple video in a format supported by the IPVMS viewer or in a Windows-executable bundle.

          - All standard IPVMS features, including search, playback, and single camera video export shall be usable on a multiple video export.

        - The IPVMS shall provide watermarking for exported video.

        - Screenshot functionality shall be available for both cameras and local video files in PNG or JPG formats.

        - It shall be possible to create a screen recording from several displays with audio narration and various levels of video quality.

        - The IPVMS shall support export to the following sources:

          - on-board camera SD card

          - USB flash drive

          - USB HDD

      - User interface (UI) – The UI shall provide the following controls and features:

        - Main video display view, showing video from cameras or local files

        - Navigator bar at top of screen to include

          - NVR status and means to connect or disconnect

          - window control

          - screen recording button

          - main menu providing

            - server connection

            - local video file access

            - layout control

            - screen recording

            - system settings access

          - tabs, representing different screen layouts

        - Playback panel for local stored videos and streams recorded from live video

        - Resource tree depicting all servers, cameras, local files, users, and available layouts

        - Notifications of system events

      - Failover

        - Multi-server environment – In the event of a NVR or Media Sever failure, when two or more Media Servers are configured in the system, the IPVMS shall provide for migration of camera support to an alternate Media Server and back to the original when restored.

        - Edge system – In the event of a storage failure in a camera’s SD card, the IPVMS shall allow that camera’s video to be temporarily recorded on another camera on the network.

        - No Single Point of Failure - All servers in a system shall continuously synchronize system configuration settings creating a reliable cluster of servers.

      - System level features shall include

        - firmware upgrade

        - remote system upgrade with no loss of existing files

        - back up and restoration of system settings

        - automatic system re-indexing upon interruption of storage connection

        - reset to factory default

        - set date, time, and NTP server synchronization

        - user access control – the IPVMS shall provide user roles as follows:

          - Administrator – full system control

          - Advanced Viewer - ability to implement configuration, search, view, and export functions as defined by Administrator

          - Viewer – Live and Playback and restricted to camera in assigned layouts

          - Live Viewer – Live View only with no playback and restricted to camera in assigned layouts

          - Custom - rights (up to Administrator) determined by Administrator

        - ability for system administrators to upgrade an entire system (all servers and clients in a system, regardless of operating system or device type) to a newer version

        - view and export camera settings

        - view system logs

  - NETWORK

    - Connectivity: 10/100 BASE-TX Ethernet with RJ-45 connector

    - Protocols supported

      - Transmission Control Protocol (TCP), Internet Protocol (IP) v4 and v6, User Datagram Protocol (UDP)

      - Configuration: Dynamic Host Configuration Protocol (DHCP)

      - Web services: Hypertext Transfer Protocol (HTTP), Hypertext Transfer Protocol Secure (HTTPS)

      - Network services: Domain Name System (DNS), Network Time Protocol (NTP)

      - Media: Real-Time Transport Protocol (RTP), Real-Time Streaming Protocol (RTSP)

      - Notifications: File Transfer Protocol (FTP), Simple Mail Transfer Protocol (SMTP)

    - Flow Control –The IP bullet camera shall support TCP and Layer 3 QoS protocols to control network congestion.

    - DDNS – The IP bullet camera shall support DDNS services offered by the Manufacturer and other publicly available service offerings.

    - Security

      - The IP bullet camera shall support IP address filtering whereby users can enter a list of allowed or blocked IP addresses for viewing video and configuring camera settings

      - The IP bullet camera shall provide three levels of user access with password protection.

  - ADDITIONAL FEATURES

    - Auxiliary Inputs and Outputs

      - Input: Alarm sensor (contact closure)

      - Output: Relay

    - System Information

      - The system settings of the IP bullet camera shall be exportable as a separate file.

      - The IP bullet camera shall maintain an accessible log of system and motion-triggered events.

        - The log shall be exportable to an Excel spreadsheet file.

  - ELECTRICAL

    - Power

      - Sources

        - 12 VDC

        - PoE (IEEE 802.3af. 802.3af Class 3)

      - Power Consumption

        - DC12V:	11 W

        - PoE:	12.9W

    - Connectors

      - Ethernet: 			RJ-45 cable pigtail

      - External power (12 VDC): 	2-conductor power pigtail

  - MECHANICAL AND ENVIRONMENTAL

    - Housing Material: 		aluminum die-cast

    - Configuration: 		bullet

    - Environmental Rating: 	IP-66

    - Dimensions (L x D):  	9.73 in. x 3.8 in. (247 mm x 96.7 mm)

    - Temperature:

      - Operating: 		-40° C to 50° C (-40° F to 122° F)

    - Humidity:			0 - 90%, non-condensing

END OF SECTION

- EXECUTION

  - INSTALLERS

    - Contractor personnel shall comply with all applicable state and local licensing requirements.

  - PREPARATION

    - The network design and configuration shall be verified for compatibility and performance with the camera(s).

    - Network configuration shall be tested and qualified by the Contractor prior to camera installation.

  - INSTALLATION

    - Before permanent installation of the system, the system shall be factory tested in conditions simulating the final installed environment

      - A report indicating successful test results shall be produced.

  - STORAGE

    - The IP bullet camera hardware shall be stored in an environment where temperature and humidity are in the range specified by the Manufacturer.

END OF SECTION